## Figure 1
Figure 1. Annual and Cumulative Growth in U.S. Wind Power Capacity
| Annual | Cumulative
| US | US
| Wind | Wind
| Capacity | Capacity
| (GW) | (GW)
1998 | 0.14232 | 1.512
1999 | 0.88527 | 2.398
2000 | 0.070855 | 2.453
2001 | 1.6905 | 4.144
2002 | 0.41061 | 4.556
2003 | 1.6649 | 6.226
2004 | 0.3964 | 6.622
2005 | 2.3744 | 8.997
2006 | 2.4534 | 11.451
2007 | 5.2525 | 16.7
2008 | 8.3624 | 25.062
2009 | 10.0052 | 35.062
2010 | 5.22 | 40.275
2011 | 6.819 | 46.916
2012 | 13.1307 | 60.0053

## Figure 2
Figure 2. Relative Contribution of Generation Types in Annual Capacity Additions
Nameplate Capacity Additions (GW)
Generation Type | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012
Gas | 30.0302 | 43.3094 | 66.0071 | 52.6098 | 25.4039 | 16.87 | 9.859 | 7.6959 | 8.7678 | 10.7026 | 7.5135 | 10.7546 | 9.0374
Coal | 0.1305 | 0.5197 | 0.0105 | 0.09 | 0.617 | 0.4777 | 0.5966 | 1.5135 | 1.584 | 2.0206 | 5.8373 | 4.0751 | 4.5095
Wind | 0.070855 | 1.6905 | 0.41061 | 1.6649 | 0.3964 | 2.3744 | 2.4535 | 5.2525 | 8.3624 | 10.0052 | 5.22 | 6.8189 | 13.0061
Other Renewable | 0.15742 | 0.42108 | 0.42318 | 0.33882 | 0.25538 | 0.17033 | 0.42831 | 0.53654 | 0.56972 | 1.0106 | 1.1031 | 2.0306 | 3.4166
Other non-Renewable | 0.7698 | 0.7183 | 1.1099 | 0.405 | 0.2949 | 0.2867 | 0.2623 | 0.3382 | 0.1161 | 0.1177 | 1.1072 | 0.3103 | 0.19018
Total | 31.1588 | 46.6589 | 67.9613 | 55.1085 | 26.9676 | 20.1791 | 13.5997 | 15.3366 | 19.4001 | 23.8567 | 20.7811 | 23.9896 | 30.1598
Wind % of Total | 0.2274% | 3.623% | 0.6042% | 3.021% | 1.47% | 11.77% | 18.04% | 34.25% | 43.11% | 41.94% | 25.12% | 28.42% | 43.12%

## Figure 3
Figure 3. Approximate Wind Energy Penetration in the Twenty Countries with the Greatest Installed Wind Power Capacity
| Approximate | Approximate | Approximate | Approximate | Approximate | Approximate | Approximate
| Wind | Wind | Wind | Wind | Wind | Wind | Wind
| Penetration | Penetration | Penetration | Penetration | Penetration | Penetration | Penetration
| End of 2006 | End of 2007 | End of 2008 | End of 2009 | End of 2010 | End of 2011 | End of 2012
Denmark | 20.1% | 20.23% | 21.67% | 22.86% | 25.74% | 26.8% | 28.47%
Portugal | 7.685% | 9.712% | 12.87% | 15.2% | 16.69% | 18.22% | 18.76%
Spain | 9.623% | 11.87% | 13.99% | 15.47% | 16.69% | 17.52% | 18.41%
Ireland | 6.734% | 6.974% | 9.264% | 10.74% | 13.12% | 15.3% | 16.44%
Germany | 6.798% | 7.369% | 8.427% | 8.524% | 9.044% | 9.674% | 10.42%
Greece | 3.429% | 3.841% | 4.344% | 4.931% | 6.152% | 7.77% | 8.415%
Romania | 0.02905% | 0.05714% | 0.3212% | 0.5138% | 1.885% | 3.998% | 7.78%
UK | 1.286% | 1.578% | 2.27% | 3.002% | 4.112% | 5.091% | 6.576%
Sweden | 0.8879% | 1.249% | 1.684% | 2.377% | 3.306% | 4.478% | 5.767%
Netherlands | 2.917% | 3.248% | 4.332% | 4.253% | 4.303% | 4.455% | 4.948%
Italy | 1.179% | 1.515% | 2.198% | 2.767% | 3.33% | 3.895% | 4.656%
U.S. | 0.8341% | 1.22% | 1.894% | 2.536% | 2.94% | 3.428% | 4.429%
India | 1.891% | 2.282% | 2.623% | 2.782% | 3.196% | 3.845% | 4.217%
Turkey | 0.13% | 0.3686% | 0.8662% | 1.518% | 2.273% | 2.904% | 3.552%
Poland | 0.253% | 0.4561% | 0.7766% | 1.213% | 1.742% | 2.335% | 3.531%
Australia | 0.9739% | 1.19% | 1.933% | 2.321% | 2.569% | 3.056% | 3.503%
Canada | 0.7145% | 0.9165% | 1.263% | 1.746% | 2.146% | 2.875% | 3.445%
China | 0.1712% | 0.3657% | 0.7044% | 1.352% | 2.209% | 2.904% | 3.307%
France | 0.7447% | 1.129% | 1.737% | 2.132% | 2.627% | 2.975% | 3.262%
Brazil | 0.1499% | 0.2451% | 0.431% | 0.5391% | 0.7059% | 1.002% | 1.541%
Japan | 0.2526% | 0.3049% | 0.3797% | 0.3859% | 0.4254% | 0.4554% | 0.47%
TOTAL | 0.9209% | 1.159% | 1.531% | 1.893% | 2.296% | 2.711% | 3.175%

## Figure 4
Figure 4. Location of Wind Power Development in the United States
| Cumulative MW | Incremental MW
| end of 2012 | in 2012
TX | 12214.085 | 1825.88
CA | 5542.283 | 1656.18
IA | 5133.215 | 814.23
IL | 3568.453 | 823.335
OR | 3153.19 | 640
OK | 3133.8 | 1127.05
MN | 2986.575 | 266.67
WA | 2807.83 | 235.15
KS | 2713.3 | 1440.7
CO | 2300.5 | 496
ND | 1679.59 | 235
NY | 1638.1 | 236.7
IN | 1542.75 | 202.7
WY | 1409.79 | 0
PA | 1339.5 | 550.2
MI | 987.645 | 610.6
ID | 972.5 | 355.2
SD | 783.324 | 0
NM | 777.58 | 27.3
WI | 648.03 | 17.9
MT | 645.395 | 258.225
WV | 583.3 | 19.2
NE | 459.48 | 122
MO | 458.5 | 0
ME | 431.1 | 34.2
OH | 427.85 | 314.875
UT | 325.285 | 0
AZ | 238.3 | 99.2
HI | 205.56 | 114
NH | 171.1 | 147
NV | 151.8 | 151.8
PR | 124.6 | 124.6
MD | 120.3 | 0
VT | 119.45 | 73
MA | 102.62 | 55.25
AK | 59.415 | 48.5
TN | 28.98 | 0
NJ | 9 | 1.5
RI | 8.885 | 6.525
DE | 2 | 0
AR | 0.1 | 0
CT | 0.1 | 0
NC | 0.1 | 0
| 60005.26 | 13130.67

## Figure 5
Figure 5. Proposed Offshore Wind Power Projects in a Relatively Advanced State of Development
This figure does not contain any data that are not already shown in the figure.

## Figure 6
Figure 6. Nameplate Resource Capacity in 42 Selected Interconnection Queues
GW | Natural Gas | Wind | Solar | Nuclear | Coal | Other
Entered queue in 2012 | 55.495 | 19.989 | 10.386 | 6.733 | 1.881 | 2.532
Total in queue at end of 2012 | 129.665 | 125.463 | 44.318 | 15.991 | 7.384 | 14.715

## Figure 7
Figure 7. Wind Power Capacity in 42 Selected Interconnection Queues
| Entered Queue in 2012 | Total in Queue at end of 2012
| (GW) | (GW)
ERCOT | 7.12 | 21.43
Northwest | 1.2 | 20.395
SPP | 3.322 | 19.246
PJM | 1.351 | 18.113
MISO / Midwest | 2.63 | 17.283
Mountain | 1.859 | 15.619
California | 1.052 | 7.916
New York ISO | 0.546 | 2.302
ISO-New England | 0.477 | 2.137
Southeast | 0.49 | 1.097
| 20.047 | 125.538

## Figure 8
Figure 8. Annual U.S. Market Share of Wind Manufacturers by MW, 2005-2012
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012
GE Wind | 1431 | 1146 | 2341.5 | 3585 | 3994.5 | 2543.2 | 2006.1 | 5014.36
Siemens | 0 | 572.7 | 862.5 | 791.2 | 1161.5 | 828 | 1233.1 | 2637.93
Vestas | 699.15 | 439.25 | 948.35 | 1120.035 | 1488.61 | 221.1 | 1969.35 | 1818.08
Gamesa | 50 | 74 | 494 | 616 | 600 | 566 | 154 | 1341.1
REpower | 0 | 0 | 0 | 94 | 330 | 68.45 | 171.95 | 594.5
Mitsubishi | 190 | 128 | 356 | 516.4 | 814.4 | 350.4 | 319.8 | 419.6
Nordex | 0 | 0 | 2.5 | 0 | 62.5 | 20 | 287.5 | 275.1
Clipper | 2.5 | 0 | 47.5 | 470 | 605 | 70 | 257.5 | 250
Acciona | 0 | 0 | 0 | 409.5 | 204 | 99 | 0 | 195
Suzlon | 0 | 91.55 | 198.15 | 737.5 | 702 | 412.6 | 333.9 | 186.9
Other | 1.765 | 1.95 | 2 | 22.8 | 42.683 | 41.24 | 86.23 | 398.1
| 2374.415 | 2453.45 | 5252.5 | 8362.435 | 10005.193 | 5219.99 | 6819.43 | 13130.67

## Figure 9
Figure 9. Location of Existing and New Turbine and Component Manufacturing Facilities
This figure does not contain any data that are not already shown in the figure.

## Figure 10
Figure 10. Domestic Wind Turbine Nacelle Assembly Capacity vs. U.S. Wind Turbine Installations
Figure provided by Bloomberg New Energy Finance

## Figure 11
Figure 11. Number of Operating Wind Turbine and Component Manufacturing Facilities in the United States
Number of
Manufacturing Facilities
| Opened | Opened
| before 2012 | in 2012
Other | 86 | 5
Nacelle Components | 30 | 0
Towers | 15 | 1
Blades | 15 | 1
Turbines | 17 | 0

## Figure 12
Figure 12. Estimated Imports of Wind-Powered Generating Sets, Towers, Wind Generators, Wind Blades and Hubs, and Other Wind Turbine Components, as well as Exports of Wind-Powered Generating Sets
|  | Imports | [7 empty] | Exports
|  | Billion US$2012 | [7 empty] | Million US$2012
| Annual Capacity Additions (GW) | Wind-Powered Generating Sets | Towers * | Other Wind-related Equipment * | Wind Generators | Wind Blades and Hubs | Gearboxes * | Positive Error | Negative Error | Wind-Powered Generating Sets
2006 | 2453 | 1.3765 | 0.2341 | 0.74948 | - | - | - | 0.32459 | 0.27814 | 94.8781
2007 | 5253 | 2.6354 | 0.55753 | 1.4263 | - | - | - | 0.47762 | 0.46167 | 15.6773
2008 | 8362 | 2.6695 | 1.0068 | 2.0078 | - | - | - | 0.53035 | 0.63079 | 23.5382
2009 | 10005 | 2.44 | 0.65515 | 1.3719 | - | - | - | 0.38637 | 0.42518 | 125.2091
2010 | 5220 | 1.2865 | 0.41499 | 0.98784 | - | - | - | 0.38004 | 0.32889 | 149.635
2011 | 6819 | 1.2595 | 0.44944 | 1.3453 | - | - | - | 0.43209 | 0.39928 | 152.468
2012 | 13131 | 0.97557 | 0.82463 | - | 0.45575 | 0.89206 | 0.36486 | 0.29189 | 0.29189 | 387.9512
* estimated imports

## Figure 13
Figure 13. Origins of U.S. Imports of Wind Turbine Equipment
Wind Powered Generating Sets
| Europe | [5 empty] | Asia |  |  |  | Other
| Denmark | Spain | Germany | Italy | UK | Other Europe | Japan | India | China | Other Asia
2006 | 52.19% | 13.03% | 4.678% | 0.0539% | 3.284% | 0.00734% | 8.044% | 17.92% | 0.6616% | 0.04085% | 0.08823%
2007 | 40.59% | 17.79% | 8.851% | 0% | 5.453% | 0.07449% | 12.92% | 10.65% | 3.582% | 0.02081% | 0.0592%
2008 | 28.24% | 26.73% | 11.87% | 1.347% | 5.477% | 3.418% | 15.09% | 7.134% | 0.5723% | 0.006773% | 0.1146%
2009 | 34.46% | 13.29% | 8.942% | 0.002632% | 5.365% | 0.6034% | 25.49% | 10.72% | 0.2861% | 0.0103% | 0.8181%
2010 | 57.2% | 6.811% | 4.215% | 7.025% | 0.1076% | 0.2403% | 1.01% | 21.3% | 0.5667% | 0.8031% | 0.7206%
2011 | 54.83% | 7.734% | 8.142% | 24.34% | 0.08399% | 0.5672% | 0.02298% | 0.8683% | 2.144% | 0.3604% | 0.9105%
2012 | 33.11% | 2.496% | 10.26% | 21.18% | 0.0474% | 0.127% | 7.234% | 11.86% | 12.1% | 0.3153% | 1.28%
Towers
| Asia |  |  |  |  | North America |  | All Europe | Other
| China | Korea | Vietnam | Indonesia | Other Asia | Canada | Mexico
2011 | 44.43% | 13.51% | 17.89% | 3.862% | 0.7687% | 9.29% | 7.526% | 2.725% | 0%
2012 | 49.16% | 18.07% | 7.634% | 6.323% | 0.01013% | 11.45% | 1.59% | 5.089% | 0.6823%
Wind Blades and Hubs
| South America | Asia |  |  | Europe |  |  |  | Other
| Brazil | China | India | Other Asia | Denmark | Spain | Germany | Other Europe
2012 | 48.39% | 16.25% | 5.018% | 1.903% | 11.62% | 7.102% | 5.207% | 2.425% | 2.088%
Wind Generators and Parts
| Asia |  |  | Europe |  |  |  |  | North America |  | Other
| Vietnam | Japan | Other Asia | Spain | Serbia | Germany | Denmark | Other Europe | Mexico | Canada
2012 | 21.49% | 20.49% | 4.384% | 12.88% | 6.669% | 4.209% | 3.229% | 2.856% | 19% | 4.45% | 0.3475%

## Figure 14
Figure 14. Estimated Wind Power Equipment Imports as a Fraction of Total Turbine Cost
| 2006-2007 | 2008-2009 | 2010-2011 | 2012
Average Annual Total Turbine Equipment Cost | 4.0893 | 11.7467 | 7.7937 | 15.1805
| Sept 2005 - Aug 2007 | Sept 2007 - Aug 2009 | Sept 2009 - Aug 2011 | Sept 2011 - Nov 2012
Average Annual Value of Selected Imports | 3.0553 | 5.1519 | 3.1465 | 4.2454
Estimated Import Fraction | 74.71% | 43.86% | 40.37% | 27.97%
Estimated Import Fraction Positive Error | 25.29% | 15.72% | 15.81% | 10.16%
Estimated Import Fraction Negative Error | 15.88% | 9.361% | 8.802% | 5.71%
Note: Dollar values in billion US$2012

## Figure 15
Figure 15. Average Turbine Nameplate Capacity, Rotor Diameter, and Hub Height Installed during Period (only turbines larger than 100 kW)
| Average | Average | Average
| Nameplate | Rotor | Hub
| Capacity | Diameter | Height
| (MW) | (meters) | (meters)
1998-99 | 0.71885 | 47.802 | 55.6958
2000-01 | 0.88771 | 52.8873 | 58.1507
2002-03 | 1.2316 | 63.5726 | 66.1165
2004-05 | 1.4573 | 72.8058 | 73.4169
2006 | 1.6034 | 78.2106 | 76.6567
2007 | 1.6419 | 79.0393 | 78.1616
2008 | 1.6672 | 79.3343 | 78.4965
2009 | 1.7413 | 81.5585 | 78.8542
2010 | 1.7885 | 84.3247 | 79.7689
2011 | 1.9658 | 89.0305 | 81.0043
2012 | 1.9444 | 93.5 | 83.8

## Figure 16
Figure 16. Size Distribution of Number of Turbines (>100 kW) Deployed in Each Period
| 1998-99 | 2000-01 | 2002-03 | 2004-05 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012
>0.1 MW & <1 MW | 99.44% | 67.19% | 30.03% | 2.789% | 2.68% | 0.2813% | 0.1196% | 0.4701% | 0.6859% | 0.3747% | 0.3406%
≥1 MW & <2 MW | 0.5598% | 32.81% | 69.91% | 95.84% | 78.56% | 75.55% | 72.94% | 66.54% | 60.43% | 55.69% | 52.5%
≥2 MW & <3 MW | 0% | 0% | 0% | 1.368% | 18.76% | 22.85% | 24.45% | 31.56% | 36.42% | 37.1% | 41.14%
≥3 MW | 0% | 0% | 0.05935% | 0% | 0% | 1.313% | 2.493% | 1.428% | 2.469% | 6.832% | 6.027%

## Figure 17
Figure 17. Cumulative and 2012 Wind Power Capacity Categorized by Owner Type
Through Year | GW |  |  |  | Percent of Total
| IOU | POU | IPP | Other | IOU | POU | IPP | Other
1998 | 0.00725 | 0.008405 | 1.4849 | 0.002475 | 0.4824% | 0.5592% | 98.79% | 0.1647%
1999 | 0.079736 | 0.022159 | 2.2823 | 0.004125 | 3.339% | 0.9278% | 95.56% | 0.1727%
2000 | 0.079736 | 0.025559 | 2.3495 | 0.00435 | 3.242% | 1.039% | 95.54% | 0.1769%
2001 | 0.091856 | 0.035989 | 4.0134 | 0.008316 | 2.214% | 0.8673% | 96.72% | 0.2004%
2002 | 0.091856 | 0.10179 | 4.3443 | 0.022224 | 2.014% | 2.232% | 95.27% | 0.4873%
2003 | 0.091856 | 0.13486 | 5.9084 | 0.08994 | 1.476% | 2.166% | 94.91% | 1.445%
2004 | 0.25236 | 0.15509 | 6.0916 | 0.1224 | 3.811% | 2.342% | 92% | 1.849%
2005 | 0.60176 | 0.2204 | 8.0283 | 0.14541 | 6.689% | 2.45% | 89.24% | 1.616%
2006 | 1.1904 | 0.24641 | 9.7723 | 0.2403 | 10.4% | 2.152% | 85.35% | 2.099%
2007 | 1.7177 | 0.51411 | 14.1768 | 0.29325 | 10.28% | 3.078% | 84.88% | 1.756%
2008 | 3.2059 | 0.55101 | 20.8336 | 0.47374 | 12.79% | 2.198% | 83.12% | 1.89%
2009 | 4.2633 | 1.0662 | 29.081 | 0.65897 | 12.16% | 3.04% | 82.92% | 1.879%
2010 | 4.8649 | 1.2216 | 33.4466 | 0.75639 | 12.07% | 3.032% | 83.02% | 1.877%
2011 | 6.3567 | 1.4255 | 38.412 | 0.91419 | 13.49% | 3.026% | 81.54% | 1.941%
2012 | 7.4848 | 1.6442 | 49.9678 | 1.1423 | 12.43% | 2.73% | 82.95% | 1.896%

## Figure 18
Figure 18. Cumulative and 2012 Wind Power Capacity Categorized by Power Off-Take Arrangement
Through Year | GW |  |  |  |  | Percent of Total
| IOU | POU | Power Marketer | On-Site | Merchant/Quasi-Merchant | IOU | POU | Power Marketer | On-Site | Merchant/Quasi-Merchant
1998 | 1.4522 | 0.048555 | 0 | 0.002225 | 0 | 96.62% | 3.23% | 0% | 0.148% | 0%
1999 | 2.2918 | 0.093209 | 0 | 0.003275 | 0 | 95.96% | 3.903% | 0% | 0.1371% | 0%
2000 | 2.3203 | 0.11341 | 0.0104 | 0.0035 | 0.01155 | 94.35% | 4.612% | 0.4229% | 0.1423% | 0.4697%
2001 | 2.8084 | 0.46064 | 0.83456 | 0.004466 | 0.04155 | 67.68% | 11.1% | 20.11% | 0.1076% | 1.001%
2002 | 2.9804 | 0.59256 | 0.94016 | 0.005574 | 0.04155 | 65.36% | 12.99% | 20.62% | 0.1222% | 0.9111%
2003 | 3.7789 | 0.85703 | 1.5412 | 0.006424 | 0.04155 | 60.7% | 13.77% | 24.76% | 0.1032% | 0.6675%
2004 | 4.1274 | 0.90331 | 1.5412 | 0.008034 | 0.04155 | 62.33% | 13.64% | 23.28% | 0.1213% | 0.6275%
2005 | 5.4795 | 1.3313 | 1.8658 | 0.020869 | 0.2985 | 60.91% | 14.8% | 20.74% | 0.232% | 3.318%
2006 | 6.6245 | 1.668 | 2.04 | 0.024064 | 1.0928 | 57.86% | 14.57% | 17.82% | 0.2102% | 9.545%
2007 | 9.0774 | 2.587 | 3.0919 | 0.028814 | 1.9168 | 54.35% | 15.49% | 18.51% | 0.1725% | 11.48%
2008 | 11.8363 | 4.3537 | 3.6928 | 0.076599 | 5.1049 | 47.22% | 17.37% | 14.73% | 0.3056% | 20.37%
2009 | 15.3916 | 6.8255 | 4.0605 | 0.12988 | 8.6621 | 43.89% | 19.46% | 11.58% | 0.3704% | 24.7%
2010 | 17.4902 | 8.4384 | 4.372 | 0.14785 | 9.841 | 43.41% | 20.94% | 10.85% | 0.367% | 24.43%
2011 | 21.7918 | 9.3371 | 4.5188 | 0.18585 | 11.2749 | 46.26% | 19.82% | 9.592% | 0.3945% | 23.93%
2012 | 29.2401 | 12.2938 | 4.6755 | 0.2797 | 13.75 | 48.54% | 20.41% | 7.762% | 0.4643% | 22.83%

## Figure 19
Figure 19. Reported U.S. Wind Turbine Transaction Prices over Time
2012 $/kW
Order Size: | <5 MW | 5-100 MW | >100 MW
1997-02-01 | 1676.0114
1997-12-01 | 1305.8591
1998-01-01 | 1278.8714
1998-05-01 |  | 1079.4726
1998-05-01 |  | 1234.6909
1998-08-01 |  | 1009.6995
1998-08-01 |  | 1009.6995
1998-11-01 |  | 1253.7048
1998-11-01 |  |  | 1122.1136
2000-07-01 |  |  | 619.7484
2000-12-01 |  |  | 861.2888
2001-03-01 |  | 999.3082
2001-04-01 |  |  | 639.0727
2002-02-01 |  | 833.4117
2002-04-01 |  |  | 631.9842
2002-05-01 |  | 755.8021
2002-06-01 |  |  | 847.5577
2002-08-01 |  | 756.7559
2002-12-01 |  |  | 857.7204
2003-05-01 |  | 1031.045
2003-06-01 |  |  | 995.4004
2003-07-01 |  | 1061.5854
2004-12-01 |  |  | 1018.264
2004-08-01 |  | 1067.0959
2005-03-01 |  | 1165.4135
2005-05-01 |  | 1354.1667
2005-11-01 |  |  | 1328.7677
2006-01-01 |  |  | 1359.5932
2006-05-01 |  |  | 1345.481
2006-06-01 |  |  | 1227.7306
2006-07-01 |  |  | 1267.5769
2006-07-01 |  |  | 1208.4941
2006-09-01 |  |  | 1172.6446
2006-09-01 |  | 1611.8888
2007-03-01 |  |  | 1326.2819
2007-03-01 |  |  | 1398.1888
2007-03-01 |  | 1183.2515
2007-04-01 |  | 1210.9165
2007-05-01 |  |  | 1052.8027
2007-06-01 |  |  | 1444.4547
2007-06-01 |  |  | 1605.4045
2007-06-01 |  |  | 1357.5702
2007-06-01 |  |  | 1203.2812
2007-07-01 | 1590.8856
2007-08-01 | 2046.2963
2007-09-01 |  |  | 1424.9227
2007-09-01 |  |  | 1442.1945
2007-10-01 |  |  | 1508.924
2007-10-01 |  |  | 1572.0233
2007-11-01 |  |  | 1581.4642
2007-12-01 |  |  | 1400.5474
2008-01-01 |  | 1770.3847
2008-01-01 |  |  | 1342.8282
2008-02-01 |  |  | 1502.6644
2008-03-01 |  |  | 1426.5976
2008-04-01 |  |  | 1884.1678
2008-04-01 | 2135.276
2008-06-01 |  |  | 1739.1111
2008-08-01 | 1623.1213
2008-10-01 |  | 1548.658
2008-11-01 |  | 1573.0226
2008-11-01 |  |  | 1169.7673
2008-12-01 | 1781.6736
2009-02-01 | 1264.3836
2009-03-01 |  | 1467.7449
2009-04-09 |  | 1130.291
2009-05-01 | 1372.2553
2009-06-01 |  | 1507.0547
2009-07-01 | 1661.3143
2009-07-01 |  | 1726.9554
2009-08-01 |  |  | 1404.8706
2009-09-01 | 1722.5891
2009-10-01 |  |  | 1632.5142
2009-12-01 |  |  | 1678.4468
2010-01-01 |  | 2045.3296
2010-01-01 |  | 1569.2087
2010-03-01 |  | 1568.0757
2010-06-01 |  | 1236.7373
2010-07-01 | 1558.6606
2010-07-01 |  |  | 1454.4397
2010-07-01 | 1593.2975
2010-08-01 |  |  | 1390.9943
2010-10-01 |  | 1278.1933
2010-10-01 |  | 1221.8024
2011-02-01 |  | 1256.8996
2011-02-01 |  | 1530.6979
2011-03-01 |  | 1199.2755
2011-05-31 | 1147.6293
2011-05-01 | 1700.1916
2011-06-01 | 1221.2719
2011-08-01 | 1688.2499
2011-09-01 | 1687.7563
2011-09-01 |  |  | 1308.0111
2011-10-01 |  |  | 1355.8361
2011-10-01 |  | 987.0486
2011-11-01 |  |  | 1359.4855
2012-01-01 |  | 1510.9188
2012-02-01 |  | 1138.6006
2012-10-01 |  | 1192.2176
2013-01-17 |  | 1196.3506
2013-01-01 |  | 1281.3866

## Figure 20
Figure 20. Installed Wind Power Project Costs over Time
Capacity-
Weighted
Average
2012 $/kW
1982
1983 | 5083.3221
1984
1985 | 3248.8963
1986 | 3323.7018
1987 | 2032.3284
1988
1989 | 2605.6176
1990 | 2943.5276
1991
1992
1993
1994 | 1819.0336
1995 | 1874.1511
1996 | 1531.7818
1997 | 2479.0205
1998 | 1410.5574
1999 | 1656.9416
2000 | 1670.2766
2001 | 1311.5414
2002 | 1532.4899
2003 | 1390.1387
2004 | 1279.4895
2005 | 1499.8011
2006 | 1671.8673
2007 | 1835.9893
2008 | 2047.0856
2009 | 2235.591
2010 | 2229.3157
2011 | 2135.2392
2012 | 1942.9891

## Figure 21
Figure 21. Installed Wind Power Project Costs by Project Size: 2012 Projects
| 2012 | 2012 | 2012
Project | Sample | Sample | Average Cost
Size | Projects | MW | 2012 $/kW
≤5 MW | 34 | 70.53 | 2668.2045
>5 MW & ≤20 MW | 10 | 128.6 | 2386.0891
>20 MW & ≤50 MW | 17 | 583.75 | 2090.8979
>50 MW & ≤100 MW | 15 | 1190.55 | 1928.1202
>100 MW & ≤200 MW | 28 | 3717.07 | 1917.1431
>200 MW | 14 | 3723.34 | 1921.3149
Total | 118 | 9413.84

## Figure 22
Figure 22. Installed Wind Power Project Costs by Turbine Size: 2012 Projects
| 2012 | 2012 | 2012
Turbine | Sample | Sample | Average Cost
Size | Projects | MW | 2012 $/kW
>0.1 & <1 MW | 9 | 10 | 2924.3868
≥1 & <2 MW | 51 | 4136.41 | 1926.1912
≥2 & <3 MW | 49 | 4515.18 | 1974.7119
≥3 MW | 9 | 752.25 | 1831.9016
Total | 118 | 9413.84

## Figure 23
Figure 23. Installed Wind Power Project Costs by Region: 2012 Projects
| 2012 | 2012 | 2012
| Sample | Sample | Average Cost
| MW | Projects | 2012 $/kW
Interior | 3827.05 | 42 | 1762.5655
Northeast | 1100.7 | 29 | 2001.5172
Great Lakes | 1529.26 | 21 | 2001.6853
West | 2937.63 | 25 | 2119.8958
Southeast | 19.2 | 1 | 2808.5944
Total US | 9413.84 | 118 | 1942.9891

## Figure 24
Figure 24. Regional Boundaries Overlaid on a Map of Average Annual Wind Speed at 80 Meters
This figure does not contain any data that are not already shown in the figure.

## Figure 25
Figure 25. Average O&M Costs for Available Data Years from 2000–2012, by Commercial Operation Date
The data for Figure 25 are not provided because some of the data points are confidential.

## Figure 26
Figure 26. Median Annual O&M Costs by Project Age and Commercial Operation Date
Commercial Operation Date | Number of Years Since Commercial Operation Date
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
1998-2004 | 12.3865 | 12.2576 | 11.4462 | 13.9892 | 17.0147 | 19.8548 | 21.7516 | 16.3891 | 20.1943 | 19.8562
2005-2008 | 7.7581 | 7.1806 | 7.2621 | 7.817 | 8.3194 | 10.6499 | 11.5449 | n/a | n/a | n/a
2009-2011 | 8.0731 | 7.898 | 10.3825 | n/a | n/a | n/a | n/a | n/a | n/a | n/a
n/a = insufficient data

## Figure 27
Figure 27. Average Cumulative Sample-Wide Capacity Factor by Calendar Year
| Net | Net
| Capacity | Capacity
| Factor | Factor
| (based on actual | (based on estimated
| generation, with | generation, if no
| curtailment) | curtailment)
2000 | 31.66% | 31.66%
2001 | 31.59% | 31.59%
2002 | 30.01% | 30.01%
2003 | 28.74% | 28.74%
2004 | 29.91% | 29.91%
2005 | 29.86% | 29.86%
2006 | 32.13% | 32.13%
2007 | 32.36% | 32.49%
2008 | 34.25% | 35.35%
2009 | 29.73% | 31.74%
2010 | 30.68% | 31.67%
2011 | 33.35% | 34.41%
2012 | 32.42% | 32.97%

## Figure 28
Figure 28. 2012 Project Capacity Factors by Commercial Operation Date
Capacity-
Weighted
Average
Project | Sample | Sample | Capacity
Vintage | MW | Projects | Factor
1998-99 | 775.94 | 23 | 27.56%
2000-01 | 1513.647 | 24 | 28.09%
2002-03 | 1907.77 | 36 | 32.18%
2004-05 | 3416.51 | 27 | 34.09%
2006 | 1640 | 20 | 32.87%
2007 | 4930.5 | 34 | 34.09%
2008 | 8513.45 | 76 | 33.47%
2009 | 9561.15 | 95 | 31.43%
2010 | 4731.1672 | 48 | 33.39%
2011 | 5853.8 | 63 | 31.05%
Total | 42843.9343 | 446

## Figure 29
Figure 29. Index of Wind Resource Quality at 80 Meters vs. Specific Power
Index of
| Average Wind | Average
| Resource Quality | Specific
| at 80m Hub Height | Power
| (1998-99=100) | (W/m^2)
1998-99 | 100 | 400.5509
2000-01 | 98.1033 | 404.0893
2002-03 | 96.0076 | 388.0105
2004-05 | 97.3528 | 350.0513
2006 | 93.1077 | 333.7544
2007 | 94.7333 | 334.6383
2008 | 95.3227 | 337.262
2009 | 88.0457 | 333.3063
2010 | 86.3557 | 320.2577
2011 | 83.8701 | 315.7742
2012 | 85.2396 | 283.1894

## Figure 30
Figure 30. Impact of Wind Resource Quality and Specific Power on Capacity Factor
Specific | Lower | Medium | Higher
Power Range | Wind Resource | Wind Resource | Wind Resource
(W/m^2) | Quality | Quality | Quality
200-300 | 30.16% | 38% | 45.62%
300-400 | 28.43% | 33.74% | 37.03%
400-500 | 19.8% | 26.98% | 35.57%

## Figure 31
Figure 31. 2012 Capacity Factors by Region: 2010–2011 Projects Only
Average Net
| Capacity | Sample | Sample
Region | Factor | MW | Projects
Southeast | 24.72% | 308.1 | 4
Northeast | 25.18% | 288.8 | 6
West | 26.04% | 2451.7 | 37
Great Lakes | 28.25% | 2076.6 | 15
Interior | 37.16% | 5429.7672 | 48
| 32.1% | 10554.9672 | 110

## Figure 32
Figure 32. Levelized Wind PPA Prices by PPA Execution Date and Region
The project-level data for Figure 32 are not provided because some of the data points are confidential.

## Figure 33
Figure 33. Generation-Weighted Average Levelized Wind PPA Prices by PPA Execution Date and Region
PPA
Execution | Nationwide | Great Lakes | Interior | West | Northeast
Year | 2012 $/MWh | 2012 $/MWh | 2012 $/MWh | 2012 $/MWh | 2012 $/MWh
1996-99 | 42.0039 |  | 40.1483 | 60.107
2000-01 | 35.6941 | 90.6538 | 32.2374 | 33.3282 | 47.1093
2002-03 | 33.2524 |  | 29.2539 | 41.564 | 46.3136
2004-05 | 37.1968 | 63.0881 | 34.112 | 50.6973
2006 | 50.054 | 52.6511 | 44.2309 | 61.4831 | 62.0965
2007 | 51.1248 | 60.9292 | 42.7881 | 69.4257
2008 | 63.6685 | 63.3549 | 52.2722 | 87.0631 | 89.3919
2009 | 67.303 | 74.7725 | 52.9712 | 94.2633 | 67.2251
2010 | 60.5721 | 75.4427 | 43.6558 | 95.0841 | 99.1735
2011 | 41.8517 | 56.6458 | 32.2047 | 74.3146 | 58.0369
2012 | 38.1139 | 47.503 | 31.272 | 84.0026 | 53.4275

## Figure 34
Figure 34. Average Levelized Long-Term Wind PPA Prices and Yearly Wholesale Electricity Prices over Time
Average
| Wholesale | Wholesale | Levelized
| Power Price | Power Price | Wind PPA
| Min | Max | Price
| (2012 $/MWh) | (2012 $/MWh) | (2012 $/MWh)
2003 | 31.5744 | 63.0753 | 34.0512
2004 | 34.8329 | 61.8155 | 38.592
2005 | 52.1714 | 89.304 | 36.8115
2006 | 42.4875 | 70.3249 | 50.054
2007 | 47.1823 | 78.4953 | 51.1248
2008 | 49.086 | 92.1508 | 63.6685
2009 | 25.4293 | 45.3134 | 67.303
2010 | 27.3213 | 53.1825 | 60.5721
2011 | 23.2282 | 49.5931 | 41.8517
2012 | 19.2361 | 37.4894 | 38.1139
Note on B6: By calendar year
Note on C6: By calendar year
Note on D6: By PPA execution year

## Figure 35
Figure 35. Levelized Long-Term Wind PPA Prices in 2011/2012 and Yearly Wholesale Electricity Prices by Region
| 2012 | 2012 | Average
| Wholesale | Wholesale | Levelized
| Power Price | Power Price | Wind PPA
| Min | Max | Price
| (2012 $/MWh) | (2012 $/MWh) | (2012 $/MWh)
Interior | 20.4753 | 27.8267 | 31.8242
Great Lakes | 27.073 | 30.8686 | 54.8875
Northeast | 31.1673 | 37.4894 | 56.4456
West | 19.2361 | 29.9142 | 77.7809
Total US | 19.2361 | 37.4894 | 41.3419
Note on D6: Among PPAs signed in 2011 or 2012

## Figure 36
Figure 36. State RPS Policies and Non-Binding Renewable Energy Goals (as of June 2013)
This figure does not contain any data that are not already shown on the map.

## Figure 37
Figure 37. Integration Costs at Various Levels of Wind Power Capacity Penetration
Study | Wind Penetration (Capacity Basis) | Integration Cost ($/MWh)
APS (2007) | 1.5% | 0.91
APS (2007) | 5.9% | 3.25
APS (2007) | 10.4% | 3.57
APS (2007) | 14.8% | 4.08
Avista (2007) | 5% | 2.75
Avista (2007) | 10% | 6.99
Avista (2007) | 20% | 6.65
Avista (2007) | 30% | 8.84
BPA (2009) | 35.65% | 5.7004
BPA (2011) | 44.7% | 5.4353
CA RPS (2009) | 4% | 0.45333
ERCOT (2012) | 16.03% | 1.1978
EWITS (2010) | 31.74% | 5.13
EWITS (2010) | 32.06% | 4.6234
EWITS (2010) | 32.67% | 3.1
EWITS (2010) | 47.93% | 4.54
Idaho Power (2007) | 10% | 5.72
Idaho Power (2007) | 20% | 9.15
Idaho Power (2007) | 30% | 9.35
Idaho Power (2012) | 24.73% | 8.06
Idaho Power (2012) | 30.91% | 13.06
Idaho Power (2012) | 37.09% | 19.01
MN-MISO (2006) | 18.57% | 2.969
MN-MISO (2006) | 24.73% | 4.121
MN-MISO (2006) | 30.7% | 4.407
Nebraska (2010) - Shaped Proxy | 16.68% | 1.39
Nebraska (2010) - Shaped Proxy | 33.22% | 1.45
Nebraska (2010) - Shaped Proxy | 33.22% | 1.52
Nebraska (2010) - Shaped Proxy | 63.12% | 1.75
Nebraska (2010) - Daily Flat Block | 16.68% | 3.21
Nebraska (2010) - Daily Flat Block | 33.22% | 4.29
Northwestern (2012) | 12.38% | 11.28
Pacificorp (2005) | 11.21% | 4.64
Pacificorp (2007) | 18.2% | 5.1
Pacificorp (2010) | 12.67% | 8.85
Pacificorp (2010) | 16.92% | 9.71
Pacificorp (2012) | 20.49% | 1.888
Portland General Electric (2011) | 20.13% | 11.04
Puget Sound Energy (2007) | 3.992% | 5.866
Puget Sound Energy (2007) | 6.942% | 6.284
Puget Sound Energy (2007) | 12.15% | 6.935
SPP-SERC (2011) | 34.1% | 4.9
We Energies (2003) | 3.549% | 1.9
We Energies (2003) | 7.097% | 2.47
We Energies (2003) | 14.19% | 2.83
We Energies (2003) | 28.39% | 2.92
Xcel-MNDOC (2004) | 15% | 4.6
Xcel-PSCo (2006) | 10% | 3.51
Xcel-PSCo (2006) | 15% | 4.77
Xcel-PSCo (2008) | 20% | 8.56
Xcel-PSCo (2008) - 2006 Gas Prices | 20% | 5.13
Xcel-PSCo (2011) | 27.43% | 3.68
Xcel-PSCo (2011) | 42.42% | 4.09
Xcel-PSCo (2011) - Cycling Cost | 27.43% | 4.45
Xcel-PSCo (2011) - Cycling Cost | 42.42% | 5.12
Xcel-UWIG (2003) | 3.5% | 1.85

## Figure 38
Figure 38. Incremental Balancing Reserves at Various Levels of Wind Power Capacity Penetration
Study | Wind Penetration (Capacity Basis) | Increase in Balancing Reserves (Incremental Reserve MW / Incremental Wind MW) | Scheduling Period
APS (2007) | 1.5% | 1.4% | >15 min
APS (2007) | 5.9% | 12.98% | >15 min
APS (2007) | 10.4% | 14.96% | >15 min
APS (2007) | 14.8% | 14.28% | >15 min
Avista (2007) | 5% | 3.4% | >15 min
Avista (2007) | 10% | 7.3% | >15 min
Avista (2007) | 20% | 9.675% | >15 min
Avista (2007) | 30% | 11.45% | >15 min
BPA (2009) | 35.65% | 17.82% | >15 min
BPA (2011) | 14.21% | 44.7% | >15 min
CA IAP (2007) | 15% | 0.2869% | <15min
CAISO (2007) | 10.69% | 12.2% | <15min
CAISO (2010) | 17.09% | 5.609% | <15min
ERCOT (2008) | 23% | 0.36% | <15min
ERCOT (2012) | 3.377% | 16.03% | <15min
EWITS (2010) | 31.74% | 6.538% | <15 min
EWITS (2010) | 32.06% | 6.642% | <15 min
EWITS (2010) | 32.67% | 6.228% | <15 min
EWITS (2010) | 47.93% | 6.604% | <15 min
Idaho Power (2007) | 10% | 8.333% | >15 min
Idaho Power (2007) | 20% | 9.083% | >15 min
Idaho Power (2007) | 30% | 10.06% | >15 min
Idaho Power (2012) | 33.38% | 24.73% | >15 min
Idaho Power (2012) | 35.5% | 30.91% | >15 min
Idaho Power (2012) | 35.25% | 37.09% | >15 min
ISO-NE (2010) | 3.619% | 1.754% | <15min
ISO-NE (2010) | 13.24% | 5.276% | <15min
ISO-NE (2010) | 21.59% | 5.147% | <15min
MN-MISO (2006) | 18.57% | 5.231% | >15 min
MN-MISO (2006) | 24.73% | 6.242% | >15 min
MN-MISO (2006) | 30.7% | 7.56% | >15 min
Nebraska (2010) | 13.93% | 11.5% | <15 min
Nebraska (2010) | 27.99% | 10.21% | <15 min
Nebraska (2010) | 55.96% | 10.03% | <15 min
New York (2005) | 10% | 1.091% | <15min
Northwestern (2011) | 28.47% | 11.87% | >15 min
Northwestern (2011) | 26.1% | 12.7% | >15 min
Northwestern (2011) | 18.56% | 15.99% | >15 min
Northwestern (2011) | 21.43% | 24.24% | >15 min
Northwestern (2011) | 25.93% | 48.97% | >15 min
Northwestern (2012) | 17.73% | 12.38% | >15 min
NYISO (2010) | 10.07% | 4.494% | <15min
NYISO (2010) | 25.4% | 3.346% | <15min
Oahu (2011) | 50% | 14% | <15min
PacifiCorp (2007) | 18.2% | 2.15% | >15 min
PacifiCorp (2010) | 3.924% | 7.765% | >15 min
PacifiCorp (2010) | 12.67% | 16.91% | >15 min
PacifiCorp (2010) | 16.92% | 16.86% | >15 min
PacifiCorp (2012) | 2.145% | 5.817% | >15 min
PacifiCorp (2012) | 2.16% | 7.554% | >15 min
PacifiCorp (2012) | 3.592% | 13.09% | >15 min
PacifiCorp (2012) | 4.641% | 17.37% | >15 min
PacifiCorp (2012) | 6.303% | 20.41% | >15 min
SPP (2010) | 13.68% | 0.6561% | <15min
SPP (2010) | 27.35% | 0.8799% | <15min
SPP (2010) | 50.01% | 1.157% | <15min
SPP-SERC (2011) | 10.74% | 34.06% | >15 min
We Energies (2003) | 3.549% | 1.452% | >15min
We Energies (2003) | 7.097% | 2.796% | >15min
We Energies (2003) | 14.19% | 4.948% | >15min
We Energies (2003) | 28.39% | 7.47% | >15min
WWSIS (2010) | 46.07% | 2.478% | <15min
Xcel-MNDOC (2004) | 15% | 0.52% | >15min
Xcel-PSCo (2006) | 5% | 0.2119% | >15 min
Xcel-PSCo (2006) | 10% | 0.2271% | >15 min
Xcel-UWIG (2003) | 3.5% | 0% | >15min

## Figure 39
Figure 39. Wind Power Capacity Growth: 20% Wind Report, Actual Installations, Projected Growth
| 20% | 20% | Actual | Actual
| Deployment | Deployment | Deployment | Deployment
| Path | Path
| Annual GW | Cumulative GW | Annual GW | Cumulative GW
2006 | 1.29 | 11.4523 | 2.4534 | 11.451
2007 | 3.2624 | 14.7147 | 5.2525 | 16.7
2008 | 3.2624 | 17.9771 | 8.3624 | 25.062
2009 | 4.1798 | 22.1569 | 10.0052 | 35.062
2010 | 4.1798 | 26.3367 | 5.22 | 40.275
2011 | 6.3496 | 32.6863 | 6.819 | 46.916
2012 | 6.3496 | 39.0358 | 13.1307 | 60.0053
2013 | 9.6326 | 48.6684
2014 | 9.6326 | 58.301
2015 | 13.4312 | 71.7322
2016 | 13.4312 | 85.1635
2017 | 16.1394 | 101.3029
2018 | 16.1394 | 117.4423
2019 | 16.1188 | 133.5611
2020 | 16.1188 | 149.6799
2021 | 16.7741 | 166.454
2022 | 16.7741 | 183.2282
2023 | 16.0978 | 199.326
2024 | 16.0978 | 215.4238
2025 | 16.2016 | 231.6254
2026 | 16.2016 | 247.8269
2027 | 15.4637 | 263.2906
2028 | 15.4637 | 278.7543
2029 | 13.023 | 291.7773
2030 | 13.023 | 304.8002